## 2019 SUMAPPM Schedule Summit A
Planned Preventive Maintenance of 2019 Brigade Metropolis {SUMMIT-A} | [9 empty] | FEBURUARY | [7 empty] | APRIL | [8 empty] | JUNE | [8 empty] | AUGUST | [7 empty] | OCTOBER | [8 empty] | DECEMBER
[5 empty] | JANUARY | [8 empty] | MARCH | [8 empty] | MAY | [7 empty] | JULY | [8 empty] | SEPTEMBER | [8 empty] | NOVEMBER
|  |  |  | WEEK # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
|  |  |  | Monday |  | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30
|  |  |  | Tuesday | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31
|  |  |  | Wednesday | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25
|  |  |  | Thursday | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26
|  |  |  | Friday | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27
|  |  |  | Saturday | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28
|  |  |  | Sunday | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29
Activity Description | Rating | Location | AMC/Non AMC | Frequency | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Daily Visual Inspection
Lighting |  |  |  | Daily | bar: 1 to 53
Water Tank Levels |  |  |  | Daily | bar: 1 to 53
Water Quality |  |  |  | Daily | bar: 1 to 53
Chillers |  |  |  | Daily | bar: 1 to 53
Exhaust Fans |  |  |  | Daily | bar: 1 to 53
Fresh Air Fans |  |  |  | Daily | bar: 1 to 53
Pumps |  |  |  | Daily | bar: 1 to 53
Lifts |  |  |  | Daily | bar: 1 to 53
UPS |  |  |  | Daily | bar: 1 to 53
DG Panel |  |  |  | Daily | bar: 1 to 53
Transformer |  |  |  | Daily | bar: 1 to 53
Batteries |  |  |  | Daily | bar: 1 to 53
Electrical Equipment's
Transformer - 1 | 2000 KVA | HT Yard |  | Yearly | bar: 10
Transformer - 2 | 2000 KVA | HT Yard |  | Yearly | bar: 10
VCB(RMU)- 1 | 800 A | HT Yard | AMC | Half Yearly | bar: 24; 50
VCB(RMU)- 2 | 800 A | HT Yard | AMC | Half Yearly | bar: 24; 50
VCB(RMU)- 3 | 800 A | HT Yard | AMC | Half Yearly | bar: 24; 50
VCB -1 HT I/C | 800 A | HT Yard | AMC | Half Yearly | bar: 25; 51
VCB -2 HT O/G | 800 A | HT Yard | AMC | Half Yearly | bar: 25; 51
VCB -3 HT O/G | 800 A | HT Yard | AMC | Half Yearly | bar: 25; 51
ACB 1 & 2- LT KIOSK |  | HT Yard | AMC | Half Yearly | bar: 25; 51
All ACB |  | Main LT Panel | AMC | Half Yearly | bar: 25; 51
DG's
DG set 1500kva 01 | 1500KVA | GF | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
DG set 1500kva 02 | 1500KVA | GF | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
DG STACK Monitoring |  |  |  | Yearly | bar: 32
LT Panels
Main LT Panel |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
RTCC Panel-1 |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
RTCC Panel-2 |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
UTILITY Panel |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Lighting Panel |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
External lighting panel |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
APFCR Panel-1 | 150 KVAR | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
APFCR Panel-2 | 150 KVAR | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
APFCR Panel-3 |  | LT room |  | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Water Pump Panel-1 |  | UB |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Fire pump panel |  | UB |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Cafeteria Panel |  | 2F |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Cafeteria AC Panel |  | 2F |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Main Chiller Panel |  | Terrace |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
CHILLER Pump Panel |  | Terrace |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
CHILLER Capacitor panel | 300Kvar | Terrace |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
UPSDB-1 |  | LT Room |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
UPSDB-2 |  | LT Room |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
UPSDB-3 |  | Main Reception |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
UPSDB-4 |  | Café Elect Room |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
UPSDB-5 |  | Chiller Room |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
UPSDB-6 |  | DG Sync Panel |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1 |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-2 |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
ELDB-1 |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(Parking Lights) |  | UB |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(Parking Lights) |  | LB |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(Parking Lights) |  | 1st Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
All ground floor Pole lights |  |  |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
HVAC Equipment's
Chiller No-01 | 300 Tr | Terrace | AMC | Quarterly | bar: 8; 21; 34; 47
Chiller No-02 | 300 Tr | Terrace | AMC | Quarterly | bar: 8; 21; 34; 47
Chiller No-03 | 300 Tr | Terrace | AMC | Quarterly | bar: 8; 21; 34; 47
Primary Pump-1 | 15HP | Terrace | AMC | Quarterly | bar: 23; 36; 49
Primary Pump-2 | 15HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Primary Pump-3 | 15HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Primary Pump-4 | 15HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Secondary Pump-1 | 30HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Secondary Pump-2 | 30HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Secondary Pump-3 | 30HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Secondary Pump-4 | 30HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
All Valves |  |  | AMC | Quarterly | bar: 10; 23; 36; 49
VFD'S | 30HP | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Makeup tank Pump-1 | 0.8Hp | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
Makeup tank Pump-2 | 0.8Hp | Terrace | AMC | Quarterly | bar: 10; 23; 36; 49
FCU units | 5Tr | Cafetaria/Reception | AMC | Quarterly | bar: 10; 23; 36; 49
Split 1,2,3 & 4 units | 2Tr | lift M/C room | AMC | Quarterly | bar: 10; 23; 36; 49
Fire Detection & Fighting Equipment's
Jockey Pump | 7.5Hp | Fire Room | AMC | Weekly | bar: 1 to 53
Hydrent pump | 150Hp | Fire Room | AMC | Weekly | bar: 1 to 53
Sprinkler Pump | 150Hp | Fire Room | AMC | Weekly | bar: 1 to 53
FIRE DG Engine Set | 167Hp | Fire Room | AMC | Weekly | bar: 1 to 53
Booster Pump | 11.5Hp | Terrace | AMC | Weekly | bar: 1 to 53
FHC BOX |  |  | AMC | Quarterly | bar: 2; 10; 15; 23; 28; 36; 41; 49
FIRE Extinguishers |  |  | AMC | Quarterly | bar: 2; 10; 15; 23; 28; 36; 41; 49
Fire Panel |  | Fire Room | AMC | Quarterly | bar: 2; 10; 15; 23; 28; 36; 41; 49
PA System |  | Ground floor | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Fire Alarm System |  | Ground floor | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Water system equipments
Domestic Pump-1 | 7.5hp | Pump Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Domestic Pump-2 | 7.5hp | Pump Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Strom water Pump-1 | 3Hp | Pump Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Strom water Pump-2 | 3Hp | Basement |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Exhaust System
Fresh Air unit(Café)-1 | 2HP | 2nd Floor | AMC | Quarterly | bar: 11; 24; 37; 50
Fresh Air unit (Café)-2 | 7.5HP | 2nd Floor | AMC | Quarterly | bar: 11; 24; 37; 50
Fresh Air unit (Café)-3 | 2HP | 2nd Floor | AMC | Quarterly | bar: 11; 24; 37; 50
Fresh air (Cafe)-01 | 1.1Kw | 2nd Floor | AMC | Quarterly | bar: 11; 24; 37; 50
Fresh air (Cafe)-02 | 1.1Kw | 2nd Floor | AMC | Quarterly | bar: 11; 24; 37; 50
Toilet Exhaust Gents | 3.7Kw | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Toilet Exhaust Ladies | 3.7Kw | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
UPS
Emergency lighting UPS | 10KVA | LT Room | AMC | Quarterly | bar: 3; 16; 29; 42
Main panle PLC UPS | 3KVA | LT Room | AMC | Quarterly | bar: 3; 16; 29; 42
Reception UPS | 3KVA | Reception | AMC | Quarterly | bar: 3; 16; 29; 42
Caftarea UPS | 3KVA | Caftarea | AMC | Quarterly | bar: 3; 16; 29; 42
Lift machine room UPS (car emergency lights) | 1KVA | Lift Machine room | AMC | Quarterly | bar: 3; 16; 29; 42
DG sync panel (Battery charging) | 1KVA | Dg room |  | Quarterly | bar: 3; 16; 29; 42
Lifts
Passenger lifts L1 to L6 |  |  | AMC | Monthly | bar: 1 to 2; 6 to 7; 10 to 11; 15 to 16; 19 to 20; 23 to 24; 27 to 28; 32 to 33; 36 to 37; 40 to 41; 45 to 46; 50 to 51
Service lifts S1 & S2 |  |  | AMC | Monthly | bar: 1 to 2; 6 to 7; 10 to 11; 15 to 16; 19 to 20; 23 to 24; 27 to 28; 32 to 33; 36 to 37; 40 to 41; 45 to 46; 50 to 51
EARTH PITS
ALL EARTH PITS |  |  |  | YEARLY | bar: 33
ENERGY METER CALIBRATION
Dual source meter's |  |  |  | YEARLY | bar: 7

## 2019 SUMBPPM Schedule Summit B
Planned Preventive Maintenance of 2018 Brigade Metropolis {SUMMIT-B} | [9 empty] | FEBURUARY | [7 empty] | APRIL | [8 empty] | JUNE | [8 empty] | AUGUST | [7 empty] | OCTOBER | [8 empty] | DECEMBER
[5 empty] | JANUARY | [8 empty] | MARCH | [8 empty] | MAY | [7 empty] | JULY | [8 empty] | SEPTEMBER | [8 empty] | NOVEMBER
|  |  |  | WEEK # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
|  |  |  | Monday |  | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30
|  |  |  | Tuesday | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31
|  |  |  | Wednesday | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25
|  |  |  | Thursday | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26
|  |  |  | Friday | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27
|  |  |  | Saturday | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28
|  |  |  | Sunday | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29
Acivity Description | Rating | Location | AMC/Non AMC |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Daily Visual Inspection |  |  |  | Daily | bar: 1 to 53
Lighting |  |  |  | Daily | bar: 1 to 53
Water Tank Levels |  |  |  | Daily | bar: 1 to 53
Water Quality |  |  |  | Daily | bar: 1 to 53
Chillers |  |  |  | Daily | bar: 1 to 53
Exhaust Fans |  |  |  | Daily | bar: 1 to 53
Fresh Air Fans |  |  |  | Daily | bar: 1 to 53
Pumps |  |  |  | Daily | bar: 1 to 53
Lifts |  |  |  | Daily | bar: 1 to 53
UPS |  |  |  | Daily | bar: 1 to 53
DG Panel |  |  |  | Daily | bar: 1 to 53
Transformer |  |  |  | Daily | bar: 1 to 53
Batteries |  |  |  | Daily | bar: 1 to 53
Electrical Equipments
Transformer - 1 | 2500 KVA |  | AMC | Yearly | bar: 11
Transformer - 2 | 2500 KVA |  | AMC | Yearly | bar: 11
Yearly
VCB(RMU)-1 | 800 A | HT Yard |  | Half Yearly | bar: 26; 52
VCB(RMU)-2 | 800 A | HT Yard |  | Half Yearly | bar: 26; 52
VCB(RMU)-3 | 800 A | HT Yard |  | Half Yearly | bar: 26; 52
VCB-1 | 800 A | HT Yard |  | Half Yearly | bar: 26; 52
VCB-2 | 800 A | HT Yard |  | Half Yearly | bar: 26; 52
VCB-3 | 800 A | HT Yard |  | Half Yearly | bar: 26; 52
All ACB ( for LT ) |  | LT Room & HT Yard |  | Half Yearly | bar: 26; 52
All Panels
Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
Main LT Panel |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
Utility Panel-1 |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
Utility Panel-2 |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
RTCC Panel-1 |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
RTCC Panel-2 |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
RTCC Panel-3 |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
APFCR Panel-1 | 150Kvar | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
APFCR Panel-2 | 150Kvar | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
APFCR Panel-3 | 150Kvar | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
DG distribution Panel |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
DG Auxilary Panel |  | LT Room |  | Monthly | bar: 4; 8; 12; 17; 21; 25; 30; 34; 39; 43; 47; 52
Water Pump Panel |  | LT Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Chiller Panel-1 |  | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
Chiller Panel-2 |  | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
MCC Panel- 1A |  | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
MCC Panel- 1B |  | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
MCC-2 |  | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
APFCR Panel-1(Chiller Room) | 300kVAR | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
APFCR Panel-2(Chiller Room) | 300kVAR | Terrace |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
LDB-1 |  | 1st Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1 (GF) |  | GF Near |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-2 |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
ELDB-1 |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-3 |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1 |  | UB Parking |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1 |  | LB Parking |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1 |  | Chiller Panel room |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(MLCP) |  | Gr Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(MLCP) |  | 1st Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(MLCP) |  | 2nd Floor |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
LDB-1(MLCP) |  | Swimming Pool |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
ALL GROUND FLOOR POLE LIGHT |  |  |  | Monthly | bar: 2; 6; 10; 15; 19; 23; 28; 32; 37; 41; 45; 50
DG's
DG set 2000kva 01 | 2000kva | Gr Floor | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 48; 52
DG set 2000kva 02 | 2000kva | Gr Floor | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 48; 52
DG STACK MONITORING | bar: 31
HSD Yard
HSD transfer pump | 3HP*2 | Gr Floor |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
HSD over flow transfer pump | 3HP*2 | UB |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
HSD pump panels |  | Gr Floor |  | Monthly | bar: 1; 5; 9; 14; 18; 23; 27; 31; 36; 40; 44; 49
HVAC Equipments SUMMIT B
Chiller No-01 | 300 Tr | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Chiller No-02 | 300 Tr | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Chiller No-03 | 300 Tr | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Chiller No-04 | 300 Tr | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Primary Pump-1 | 15Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Primary Pump-2 | 15Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Primary Pump-3 | 15Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Primary Pump-4 | 15Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Primary Pump-5 | 15Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Primary Pump-6 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Secondary Pump-1 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Secondary Pump-2 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Secondary Pump-3 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Secondary Pump-4 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Secondary Pump-5 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Secondary Pump-6 | 30Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
All Valves |  | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
VFD | 30Hp*6 | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Makeup tank Pump-1 | 0.8Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Makeup tank Pump-2 | 0.8Hp | Terrace | AMC | Quarterly | bar: 11; 24; 37; 50
Exhaust SYSTEM SUMMIT B
TOILET EXHAUST GENTS NORTH | 7.5HP |  | AMC | Quarterly | bar: 9; 21; 35; 48
TOILET EXHAUST LADIES NORTH | 7.5HP |  | AMC | Quarterly | bar: 9; 21; 35; 48
TOILET EXHAUST GENTS SOUTH | 7.5HP |  | AMC | Quarterly | bar: 9; 21; 35; 48
TOILET EXHAUST LADIES SOUTH | 7.5HP |  | AMC | Quarterly | bar: 9; 21; 35; 48
STP EXHAUST | 20HP |  | AMC | Quarterly | bar: 9; 21; 35; 48
STP FRESH AIR 1& 2 |  |  | AMC | Quarterly | bar: 9; 21; 35; 48
Fire Detection & Fighting Equipments
Jockey Pump | 7.5Hp |  | AMC | WEEKLY | bar: 1 to 53
Main Pump | 150hp |  | AMC | WEEKLY | bar: 1 to 53
Sprinkler Pump | 150Hp |  | AMC | WEEKLY | bar: 1 to 53
DG Engine Set | 167Hp |  | AMC | WEEKLY | bar: 1 to 53
Booster Pump | 11.5Hp |  | AMC | WEEKLY | bar: 1 to 53
Fire Panel |  |  | AMC | Quarterly | bar: 9; 22; 31; 44
FHC BOX |  |  | AMC | Quarterly | bar: 9; 22; 31; 44
FIRE EXTINGUISHERS |  |  | AMC | Quarterly | bar: 9; 22; 31; 44
PA System |  |  | AMC | Monthly | bar: 5; 9; 13; 18; 22; 26; 31; 35; 39; 44; 48; 53
Fire Alaram System |  |  | AMC | Monthly | bar: 5; 9; 13; 18; 22; 26; 31; 35; 39; 44; 48; 53
Water system equipments
Domestic Pump-1 | 6.91KW | Pump Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Domestic Pump-2 | 5.93KW | Pump Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Strom water Pump-1 | 3Hp | Pump Room |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
Strom water Pump-2 | 3Hp | Basement |  | Monthly | bar: 3; 7; 11; 16; 20; 24; 29; 33; 38; 42; 46; 51
ST P
Raw Water Pump - 1 | 3hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Raw Water Pump - 2 | 3hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Clarifier Motor | 2hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Sludge transfar Pump - 1 |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Sludge transfar Pump - 2 | 2hp*2 |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Re-circulation Pump - 2 | 2hp*2 |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Filter Feed Motors - 1 | 7.5hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Filter Feed Motors - 2 | 7.5hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Screw Pump | 1hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Final Pump -1 (A Block) | 5hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Final Pump -2 (A Block) | 5hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Final Pump - 1(B Block) | 7.5hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Final Pump - 2 (B Block) | 7.5hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Air Blower Motor - 1 | 12hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Air Blower Motor - 2 | 12hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Air Blower Motor - 3 | 12hp |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Chlorine dosing pump |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Fresher Air fan |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Exhaust fan |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Sump Pump 1 |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Sump Pump 2 |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Filter fresh |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Pressure sand filter |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Activated carbon filter |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Swimming Pool
Filteration Motor -1 to 3 |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Filter's 1 & 2 |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
Panels |  |  | AMC | Monthly | bar: 4; 8; 12; 17; 21; 26; 30; 34; 39; 43; 47; 52
UPS
Emergency lighting UPS | 10 KVA | L T ROOM |  | Quarterly | bar: 3; 16; 29; 42
DG sync panel (Battery charging) | 1KVA | Summit B LT room |  | Quarterly | bar: 3; 16; 29; 42
Lift machine room UPS (car emergency lights) | 1KVA |  |  | Quarterly | bar: 3; 16; 29; 42
Lifts
Passenger lifts L1 to L8 |  |  | AMC | Monthly | bar: 3 to 4; 8 to 9; 12 to 13; 16 to 17; 20 to 21; 25 to 26; 29 to 30; 34 to 35; 38 to 39; 42 to 43; 46 to 47; 51 to 52
Service lifts S1 & S2 |  |  | AMC | Monthly | bar: 3 to 4; 8 to 9; 12 to 13; 16 to 17; 20 to 21; 25 to 26; 29 to 30; 34 to 35; 38 to 39; 42 to 43; 46 to 47; 51 to 52
Parking lifts P1 to P3 |  |  | AMC | Monthly | bar: 3 to 4; 8 to 9; 12 to 13; 16 to 17; 20 to 21; 25 to 26; 29 to 30; 34 to 35; 38 to 39; 42 to 43; 46 to 47; 51 to 52
MLCP lifts M1 & M2 |  |  | AMC | Monthly | bar: 3 to 4; 8 to 9; 12 to 13; 16 to 17; 20 to 21; 25 to 26; 29 to 30; 34 to 35; 38 to 39; 42 to 43; 46 to 47; 51 to 52
EARTH PITS
ALL EARTH PITS |  |  |  | YEARLY | bar: 33
ENERGY METER CALIBRATION
Dual source meter's |  |  |  | YEARLY | bar: 7