## Nalapad Brigade Centre
NALPAD BRIGADE CENTER 53 WEEKS PPM SHEDULE FOR THE YEAR OF 2019
Planned Preventive Maintenance of 2018 Nalapad Brigade Centre | [9 empty] | FEBURUARY | [8 empty] | APRIL | [8 empty] | JUNE | [8 empty] | AUGUST | [7 empty] | OCTOBER | [8 empty] | DECEMBER
[6 empty] | JANUARY | [7 empty] | MARCH | [9 empty] | MAY | [7 empty] | JULY | [8 empty] | SEPTEMBER | [8 empty] | NOVEMBER
[5 empty] | WEEK | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
[5 empty] | Monday |  | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30
[5 empty] | Tuesday | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31
[5 empty] | Wednesday | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25
[5 empty] | Thursday | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26
[5 empty] | Friday | 4 | 11 | 18/ | 25 | 1 | 8 | 15 | 22 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27
[5 empty] | Saturday | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28
[5 empty] | Sunday | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29
Activity Description | Rating | Location | AMC/Non AMC | Category | Frequency | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Lighting |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Water Tank Levels |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Water Quality |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Chillers |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Exhaust Fans |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Fresh Air Fans |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Pumps |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Lifts |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
UPS |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
DG Panel |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Transformer |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Batteries |  |  | In House | Daily Visual Inspection | Daily | bar: 1 to 53
Transformer - 1 | 2500 kVA | HT Yard | Vendor | Electrical Equipment's | Yearly
Transformer - 2 | 2500 kVA | HT Yard | Vendor | Electrical Equipment's | Yearly
LT Kiosk - 1 |  | HT Yard | Vendor | Electrical Equipment's | Yearly
LT Kiosk - 2 |  | HT Yard | Vendor | Electrical Equipment's | Yearly
3 Way RMU Panel |  | HT Yard | Vendor | Electrical Equipment's | Yearly
HT Metering Cubicle |  | HT Yard | Vendor | Electrical Equipment's | Yearly
HT VCB Panel |  | HT Yard | Vendor | Electrical Equipment's | Yearly
Main LT Panel |  | LT Room | Vendor | Electrical Equipment's | Yearly
DG Synch Panel |  | LT Room | Vendor | Electrical Equipment's | Yearly
ALL EARTH PITS |  | LT Room | Vendor | Electrical Equipment's | Yearly | bar: 52
Dual source meter's |  | LT Room | Vendor | Electrical Equipment's | Yearly | bar: 52
DG-1 | 1010 kVA | DG Room | AMC | DG's | Quarterly | bar: 13; 25; 39; 51
DG-2 | 2080 kVA | DG Room | AMC | DG's | Quarterly | bar: 13; 25; 39; 51
Isolator Panel-1 |  | DG Room | In House | DG's | Quarterly | bar: 13; 25; 39; 51
Isolator Panel-2 |  | DG Room | In House | DG's | Quarterly | bar: 13; 25; 39; 51
Isolator Panel-3 |  | DG Room | In House | DG's | Quarterly | bar: 13; 25; 39; 51
Ventilation Panel |  | DG Room | In House | DG's | Quarterly | bar: 13; 25; 39; 51
Fresh Air Fans - 6 No.s |  | DG Room | In House | DG's | Quarterly | bar: 13; 25; 39; 51
Exhaust Fans - 3 No.s |  | DG Room | In House | DG's | Quarterly | bar: 13; 25; 39; 51
Utility Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 1; 13; 27; 40
MLCP Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 1; 13; 27; 40
Lighting Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 1; 13; 27; 40
External Lighting Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 1; 13; 27; 40
UPS Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 1; 13; 27; 40
APFCR-1 Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
APFCR-2 Panel |  | LT Room | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
UPS DB-1 |  | LT Room | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
RP DB-1 |  | LT Room | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
Main Chiller Panel |  | MLCP Terrace | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
APFCR Panel-1 |  | MLCP Terrace | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
APFCR Panel-2 |  | MLCP Terrace | In House | LT Panels | Quarterly | bar: 2; 14; 28; 41
Pump Panel |  | MLCP Terrace | In House | LT Panels | Quarterly | bar: 3; 15; 29; 42
Secondary VFD panel |  | MLCP Terrace | AMC | LT Panels | Quarterly | bar: 3; 15; 29; 42
Basement Ventalition panel |  | Basement | In House | LT Panels | Quarterly | bar: 3; 15; 29; 42
Stack Parking panel |  | Basement | In House | LT Panels | Quarterly | bar: 3; 15; 29; 42
PHE panel |  | Basement | In House | LT Panels | Quarterly | bar: 3; 15; 29; 42
PHE panel 1 |  | Basement | In House | LT Panels | Quarterly | bar: 3; 15; 29; 42
PHE panel 2 |  | Basement | In House | LT Panels | Quarterly | bar: 3; 15; 29; 42
STP panel |  | Basement | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Stater Panel |  | Basement STP | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Stater Panel |  | Basement Pump room | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Fire Panel Office Block |  | Basement Pump room | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Fire Panel MLCP Block |  | Basement Pump room | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Fresh Air panel |  | Office Block Terrace | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Floor Metering Panel's |  | All Floors | In House | LT Panels | Quarterly | bar: 4; 16; 30; 43
Lighting RPDB's |  | Office Block | In House | LT Panels | Quarterly | bar: 6; 18; 32; 45
Lighting ELDB's |  | Office Block | In House | LT Panels | Quarterly | bar: 6; 18; 32; 45
Lighting RPDB's |  | MlCP Block | In House | LT Panels | Quarterly | bar: 6; 18; 32; 45
Lighting ELDB's |  | MlCP Block | In House | LT Panels | Quarterly | bar: 6; 18; 32; 45
Fresh Air VFD Panel 4 nos |  | Office Block Terrace | AMC | LT Panels | Quarterly | bar: 6; 18; 32; 45
Exhaust and Fresh air starter's |  | Office Block Terrace | In House | LT Panels | Quarterly | bar: 6; 18; 32; 45
End Feeder Unit's |  | Office Block | In House | LT Panels | Quarterly | bar: 6; 18; 32; 45
Bus Ducts & Tap off box |  | Office Block | AMC | LT Panels | Yearly | bar: 52
Air Cooled Chiller | 350 TR | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Water Cooled Chiller | 350 TR | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Primary Pumps | 15 kW | MLCP Terrace | In House | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Secondary Pumps | 45 kW | MLCP Terrace | In House | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Condenser Pumps | 30 kW | MLCP Terrace | In House | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Cooling Tower | 350 TR | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Expansion Tank With Pumps | 1000 ltrs | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 5; 18; 31; 44
Air Separator | 1000 ltrs | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
AHU Fresh Air Unit Cabinet Type | 23000 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
AHU Fresh Air Unit Cabinet Type | 18000 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
AHU Fresh Air Unit Cabinet Type | 14000 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
AHU Fresh Air Unit Cabinet Type | 1400 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
Exhaust unit |  | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
Lift Lobby Pressurization Axial Fan | 21000 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
Stair case Pressurization Axial Fan | 10000 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
Ceiling Suspended Units | 2500 CFM | G flr | AMC | HVAC Equipment's | Quarterly | bar: 6; 19; 32; 45
Ceiling Suspended Units | 4000 CFM | G & 1st flr | AMC | HVAC Equipment's | Quarterly | bar: 7; 20; 33; 46
Toilet Exhaust Unit (G-9th flr) | 7000 CFM | Office Terrace | AMC | HVAC Equipment's | Quarterly | bar: 7; 20; 33; 46
STP Centrifugal Type Ex. Fan | 10000 CFM | STP Basement | AMC | HVAC Equipment's | Quarterly | bar: 7; 20; 33; 46
Fresh Air Axial Fan | 40000 CFM | Basement | AMC | HVAC Equipment's | Quarterly | bar: 7; 20; 33; 46
Exhaust Air Axial Fans | 40000 CFM | Basement | AMC | HVAC Equipment's | Quarterly | bar: 7; 20; 33; 46
Jet Fans |  | Basement | AMC | HVAC Equipment's | Quarterly | bar: 7; 20; 33; 46
Hi-Wall Units | 600 CFM | BMS Room | AMC | HVAC Equipment's | Quarterly | bar: 8; 21; 34; 47
Balancing Valve | PN 16 | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 8; 21; 34; 47
Motorized Valve | PN 16 | MLCP Terrace | AMC | HVAC Equipment's | Quarterly | bar: 8; 21; 34; 47
Disc Valve | 150 mm Dia | All Toilet Rooms | AMC | HVAC Equipment's | Quarterly | bar: 8; 21; 34; 47
Jockey Pumps-2# | 7.5 kW | Fire Room | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
Hydrant Pumps-2# | 95 kW | Fire Room | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
Sprinkler Pumps-2# | 95 kW | Fire Room | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
Fire DG Engine Set-2# | 104 HP | Fire Room | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
PA System |  | Ground Floor | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
Fire Alarm System |  | Ground Floor | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
Fire Panel |  | Fire Room | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
PA System |  | Ground Floor | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
Fire Alarm System |  | Ground Floor | AMC | Fire Detection & Fighting Equipments | Weekly | bar: 1 to 53
UPS-1 | 20 kVA | UPS Room | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
UPS-2 | 6 kVA | UPS Room | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
UPS-3 | 3 kVA | UPS Room | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
UPS-4 | 10 kVA | BMS Room | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
UPS-5 | 10 kVA | BMS Room | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
UPS-6 | 1 kVA | LT Room sy panel | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
UPS-7 | 1 kVA | X_RAY Machine | AMC | UPS | Quarterly | bar: 2; 14; 28; 41
Passenger lifts P1,P2 |  | MLCP Block | AMC | Lifts | Monthly | bar: 3; 7; 11; 15; 18; 22; 27; 32; 36; 40; 45; 49
Service lifts S3 |  | MLCP Block | AMC | Lifts | Monthly | bar: 3; 7; 11; 15; 18; 22; 27; 32; 36; 40; 45; 49
Passenger lifts A to H |  | Office Block | AMC | Lifts | Monthly | bar: 3; 7; 11; 15; 18; 22; 27; 32; 36; 40; 45; 49
Service lifts S1 & S2 |  | Office Block | AMC | Lifts | Monthly | bar: 3; 7; 11; 15; 18; 22; 27; 32; 36; 40; 45; 49
Composting Machine |  | OWC |  | Organic Waste Converter Equipments | Quarterly | bar: 5; 18; 31; 44
Composting Shredder |  | OWC |  | Organic Waste Converter Equipments | Quarterly | bar: 5; 18; 31; 44
Air Blowers-2 Nos | 11 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Sludge Pumps-2 Nos | 1.1 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Filter Feed Pumps-2 Nos | 3.7 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Chiller Pump-2 Nos | 7.4 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Filter Pumps-1No. | 1.5 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Garden Pumps-2Nos | 3.7 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Flushing Pump-3 Nos | 3.7 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Draining Pump-5 Nos | 22 kW | STP | AMC | Sewage Treatment Plant Equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Raw Water Feeding Pumps-2 No. | 22.2 kW | Fire Room |  | Water system equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Treated Water Pumps & VFD Panel-3Nos | 5.5 kW | Fire Room |  | Water system equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
Storm Water Pumps-2 Nos | 22 kW | Fire Room |  | Water system equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
WTP Filters |  | Fire Room |  | Water system equipments | Monthly | bar: 1; 5; 9; 14; 19; 23; 27; 31; 35; 39; 44; 49
IBMS |  |  |  |  | Quarterly | bar: 5; 18; 31; 44